## Slide 1: Modeling Sensory Feedback as a Control System
Cynthia Steinhardt

## Slide 2: Overview
Solve the open-loop prosthetic system
Solve the closed-loop prosthetic system
Future test integration of stimulation signals (EEG, VR psychophysics)
  with a new sensor*

## Slide 3: Overview of Open-loop Control System
Solving it: Need a reference signal (r)
r
reference
signal
H
K2
P
q
H-1
H
K2
P
w
u2
human
EMG
Actuation
signal
prothetic
stimulation
q
Sensor
readout
(movement)
z

## Slide 4: Getting a r(t) for complex motions in VR
COLLECTING r(t)
Produce glove like APL limb:
  10 contact sensors
  Absolute position sensors*
Record r(t) for:
  Picking up different shape objects
  Writing with a pen*
SIMULATING IN THE VIE
Allows single finger actuation
K2 , P defined in VIE
Allows different recording inputs and sensor modeling

## Slide 5: Overview of Closed-loop Control System
H
K2
P
r
z
w
u2
q
K1
+
-
u1
human
EMG
Actuation
signal
prothetic
Sensor
readout
reference
signal
stimulation
Use feedback control from sensor readout to further correct prosthetic trajectories
  H_infinity modeling, direct error signals, etc.

## Slide 6: Opening the H Box
H
K2
P
r
z
w
u2
q
K1
+
-
u1
EMG
Actuation
signal
prothetic
Sensor
readout
reference
signal
stimulation
Use feedback control from sensor readout to further correct prosthetic trajectories
Use feedback control to make well-integrated feedback signals to human
I
Internal-state

## Slide 7: Internal State assessment
EEG-recording while performing a VR task
  Assess signals while interacting with objects compared to intact human
  Machine learn stimulation patterns that evoke similar pattern
Psychophysics in Virtual Reality
  Assess perceived distance (proprioception) and weight of object compared to simulation and model prediction
  Assess loading of perception if give multiple signals (e.g. temperature and weight). (Location of upper limb and several fingers)

## Slide 8: Experimental Set-up
Initial: stimulation (z)
  vibrotactile (several frequencies of stimulation
  different areas of intact/amputated limb).
  EMG recording on myoband
  pressure sensors with current basic force algorithm at hand locations
Additions: moving from external to internal stimulation
  Stimulation based algorithm
  More neuromorphic pressure sensors
  Multi-site vibrotactile stimulation (~10 sites) like APL limb